## AR Template
Licence Holder Biannual Report
For nominated source and PRF licence holders
| See REGULATORY GUIDE: Reporting Compliance |  |  |  | for more information about completing this form
Licence No: |  |  |  |  | Licence Holder:
Facility/Divison: |  |  |  |  | Site/Location:
Reporting Person Name: |  |  |  |  | Position:
Reporting Period: |  |  | to |  |  | Report Date:
Matters to be reported |  |  |  | Yes/No | Comments/Summary
1 | Were there any notifiable incidents during this period? Section 58 of the Regs requires the licence to report notifiable incidents within 24 hours
2 | Were there any other incidents/abnormal occurrences/near-misses? Section 60 of the Regsrequires the licence holder to take all reasonably practicable steps to manage safety
3 | Were there any unusual personal monitoring results? Section 59 of the Regs requires compliance with the Planned Exposure Code
4 | Were there any changes to the source inventory during this period? Section 64 of the Regs requires the licence holder to report changes
5 | Have you made any corrective actions, as a result of an ARPANSA inspection? If yes, provide information
6 | Were there any relevant changes with significant implications for safety? Section 63 of the Regs requires prior approval for such changes
7 | Were there any relevant changes unlikely to have significant implications for safety? Section 64 of the Regs requires the licence holder to report changes
8 | Review of plans and arrangements: information about the review must be provided Section 61 of the Regs requires the licence holder to review plans & arrangements every 3 years
9 | Were there any breaches of licence conditions identified? Sections 56 & 57 of the Regs requires the licence holder to prevent, investigate and rectify breaches
10 | Do you wish to report any other matters?
ARPANSA-FORM-1819 v1.2 April 2023
| Notes: | 1. The Comments/Summary column must be filled in for each Yes answer.
2. Where changes to the source inventory have occurred during the reporting period, a copy of the updated Source Inventory Workbook should be provided with the report.
3. See 'Tips for Use' on next sheet
IMPORTANT: Do not delete or change the order of information

## Tips for use
Tips for using this form
1. Double click in a cell to enter or edit data
2. Use of the 'Enter' key will advance to the next cell
3. To enter information in a new line of the same cell, use 'Alt-Enter'
IMPORTANT: Do not delete or change the order of information