## Source Type List
Licence Source Type List for a New Licence
Generated from Licence Administration Database on 05 March 2019
| Code | Ext.Code | Short Description | Full Description | Object Type |  | Category | Sealed Sources | Unsealed Source | Ionising Apparatus | Non-ionising Apparatus
| 1 | G1-1 | [G1-1] - Sealed source for calibration purposes of activity of 40 MBq or less | Sealed source for calibration purposes of activity of 40 MBq or less | 1 | Sealed Source | 1 | [G1-1] - Sealed source for calibration purposes of activity of 40 MBq or less | [G1-7] - Unsealed sources having nuclides of 1 kind only with a maximum activity not more than 100 times the appropriate amount | [G1-9] - Mammographic x-ray unit | [G1-16] - Magnetic field non-destructive testing device
| 2 | G1-2 | [G1-2] - Sealed source in a fully enclosed analytical device | Sealed source in a fully enclosed analytical device | 1 | Sealed Source | 1 | [G1-2] - Sealed source in a fully enclosed analytical device | [G1-8] - Unsealed sources having nuclides such that total maximum activity of all nuclides is less than the appropriate amount | [G1-10] - Conventional dental x-ray unit | [G1-17] - Induction heater or induction furnace
| 3 | G1-3 | [G1-3] - Sealed source with activity of 400 MBq or less in a fixed gauge | Sealed source with activity of 400 MBq or less in a fixed gauge | 1 | Sealed Source | 1 | [G1-3] - Sealed source with activity of 400 MBq or less in a fixed gauge | [G2-6] - Unsealed sources having nuclides of 1 kind only with a maximum activity of more than 100, but not more than 10 000, times the amount specified in the Schedule | [G1-11] - X-ray unit used for bone densitometry | [G1-18] - Industrial radiofrequency heater or welder
| 4 | G1-4 | [G1-4] - Sealed source in a blood irradiator | Sealed source in a blood irradiator | 1 | Sealed Source | 1 | [G1-4] - Sealed source in a blood irradiator | [G2-7] - Unsealed sources having multiple nuclides such that when the activity is computed acording to the Schedule it is more than 100 but not more than 10 000 | [G1-12] - X-ray unit used for veterinary radiography | [G1-19] - Radiofrequency plasma tube
| 5 | G1-5 | [G1-5] - Sealed source in a bone densitometer | Sealed source in a bone densitometer | 1 | Sealed Source | 1 | [G1-5] - Sealed source in a bone densitometer | [G2-8] - Unsealed sources used for tracer studies | [G1-13] - Fully enclosed x-ray analysis unit | [G1-20] - Microwave or radiofrequency diathermy equipment
| 6 | G1-6 | [G1-6] - Sealed source that: a) is awaiting disposal; and b) has a nuclide with a maximum less than the appropriate amount. | Sealed source that: (a) is in storage and awaiting disposal; and (b) has a nuclide with a maximum activity of not more than 109 times the activity value for that nuclide set out in an item in the table in Part 1 of Schedule 1 | 1 | Sealed Source | 1 | [G1-6] - Sealed source that: a) is awaiting disposal; and b) has a nuclide with a maximum less than the appropriate amount. | [G3-5] - Unsealed sources having nuclides of 1 kind only with a maximum activity of more than 10 000, but not more than 1 000 000, times the amount specified in the Schedule | [G1-14] - Baggage inspection x-ray unit | [G1-21] - Industrial microwave or radiofrequency processing system
| 7 | G1-7 | [G1-7] - Unsealed sources having nuclides of 1 kind only with a maximum activity not more than 100 times the appropriate amount | Unsealed source, or sources, in a laboratory or premises, having nuclides of 1 kind only with a maximum activity not more than 100 times the activity value for that nuclide set out in an item in the table in Part 1 of Schedule 1 | 2 | Unsealed Source | 1 | [G2-1] - Sealed source for calibration purposes of activity of more than 40 MBq | [G3-6] - Unsealed sources having multiple nuclides such that when the activity is computed acording to the Schedule it is more than 10 000 but not more than 1 000 000 | [G1-15] - Mobile or portable medical x-ray unit | [G1-22] - Optical source, other than a laser product, emitting ultraviolet radiation, infra-red or visible light
| 8 | G1-8 | [G1-8] - Unsealed sources having nuclides such that total maximum activity of all nuclides is less than the appropriate amount | Unsealed source, or sources, in a laboratory or premises, having nuclides such that when the maximum activity of each nuclide in the source, or sources, is divided by the activity value for that nuclide set out in an item in the table in Part 1 of Schedule 1, the total of the results for all nuclides in the source, or sources, is not more than 100 | 2 | Unsealed Source | 1 | [G2-2] - Sealed source in a partially enclosed analytical device | [G1-25(b)] - Manufactured item or component containing thorium | [G2-9] - Industrial radiography x-ray unit | [G1-23] - Laser product with accessible emission level more than the accessible emission limit of a Class 3R (Restricted) laser product
| 9 | G1-9 | [G1-9] - Mammographic x-ray unit | Mammographic x-ray unit | 3 | Ionizing Apparatus | 1 | [G2-3] - Sealed source of activity of more than 400 MBq in a fixed gauge | [G1-25(f)] - Tritium as an ionisation source | [G2-10] - Fixed medical x-ray unit, including a unit used for fluoroscopy, tomography and chiropractic radiography | [G1-24] - Optical fibre communication system exceeding Hazard Level 3R
| 10 | G1-10 | [G1-10] - Conventional dental x-ray unit | Conventional dental x-ray unit | 3 | Ionizing Apparatus | 1 | [G2-4] - Sealed source in a mobile gauge | [G3-8(f)] - Sealed source in a fully enclosed and interlocked cabinet used for calibration purposes | [G2-11] - Partially enclosed x-ray analysis unit | [G1-26(c)] - Optical source, other than a laser product, emitting ultraviolet radiation, infrared or visible light – solar concentrator
| 11 | G1-11 | [G1-11] - X-ray unit used for bone densitometry | X-ray unit used for bone densitometry | 3 | Ionizing Apparatus | 1 | [G2-5] - Sealed source for medical or veterinary diagnostic nuclear medicine use | [G1-25(g)] - Sealed source in a static eliminator or aerosol neutraliser | [G2-12] - Medical therapy simulator | [G1-26(j)] - Laser used on animals
| 12 | G1-12 | [G1-12] - X-ray unit used for veterinary radiography | X-ray unit used for veterinary radiography | 3 | Ionizing Apparatus | 1 | [G3-1] - Sealed source for industrial radiography |  | [G2-13] - CT scanner
| 13 | G1-13 | [G1-13] - Fully enclosed x-ray analysis unit | Fully enclosed x-ray analysis unit | 3 | Ionizing Apparatus | 1 | [G3-2] - Sealed source for medical and veterinary radiotherapy |  | [G3-7] - Veterinary or medical radiotherapy unit
| 14 | G1-14 | [G1-14] - Baggage inspection x-ray unit | Baggage inspection x-ray unit | 3 | Ionizing Apparatus | 1 | [G3-3] - Sealed source in a bore hole logger |  | [G3-8(b)] - Neutron Beam Instrument
| 15 | G1-15 | [G1-15] - Mobile or portable medical x-ray unit | Mobile or portable medical x-ray unit | 3 | Ionizing Apparatus | 1 | [G3-4(a)] - Reactor start-up source |  | [G3-8(c)] - Low Energy Implanter
| 16 | G1-16 | [G1-16] - Magnetic field non-destructive testing device | Magnetic field non-destructive testing device | 4 | Non-Ionizing Apparatus | 1 | [G3-8(a)] - Industrial irradiator containing less than 10^13Bq of a controlled material |  | [G3-8(d)] - Deuterium-tritium or deuterium-deuterium neutron generator
| 17 | G1-17 | [G1-17] - Induction heater or induction furnace | Induction heater or induction furnace | 4 | Non-Ionizing Apparatus | 1 | [G3-4(b)] - Sealed source in a fully enclosed and interlocked cabinet used for calibration purposes |  | [G3-8(e)] - Industrial irradiator containing >=100TBq but < 1 PBq of a controlled material
| 18 | G1-18 | [G1-18] - Industrial radiofrequency heater or welder | Industrial radiofrequency heater or welder | 4 | Non-Ionizing Apparatus | 1 | [G1-25(a)] - Sealed source for training and education purposes of activity 40 MBq or less |  | [G3-8] - Controlled apparatus that produces ionising radiation not mentioned in another item of this Schedule
| 19 | G1-19 | [G1-19] - Radiofrequency plasma tube | Radiofrequency plasma tube | 4 | Non-Ionizing Apparatus | 1 | [G2-14(a)] - Sealed source for training and education purposes of activity more than 40 MBq |  | [G2-15(a)] - Mobile backscatter x-ray security inspection system
| 20 | G1-20 | [G1-20] - Microwave or radiofrequency diathermy equipment | Microwave or radiofrequency diathermy equipment | 4 | Non-Ionizing Apparatus | 1 | [G1-25(c)] - Ra-226 clock, watch or other device <= 1 MBq |  | [G1-26(a)] - Fully enclosed x-ray unit (used for radiography)
| 21 | G1-21 | [G1-21] - Industrial microwave or radiofrequency processing system | Industrial microwave or radiofrequency processing system | 4 | Non-Ionizing Apparatus | 1 | [G2-14(b)] - Ra-226 clock, watch or other device > 1 MBq |  | [G1-26(b)] - Portable handheld dental x-ray apparatus
| 22 | G1-22 | [G1-22] - Optical source, other than a laser product, emitting ultraviolet radiation, infra-red or visible light | Optical source, other than a laser product, emitting ultraviolet radiation, infra-red or visible light | 4 | Non-Ionizing Apparatus | 1 | [G1-25(d)] - Pm-147 clock, watch or other device <= 1 GBq |  | [G2-15(b)] - Mobile fluoroscopic x-ray apparatus
| 23 | G1-23 | [G1-23] - Laser product with accessible emission level more than the accessible emission limit of a Class 3R (Restricted) laser product | Laser product with an accessible emission that exceeds the accessible emission limits of a Class 3R laser product, as set out in AS/NZS IEC 60825.1:2014 | 4 | Non-Ionizing Apparatus | 1 | [G2-14(c)] - Pm-147 clock, watch or other device > 1 GBq |  | [G2-15(c)] - CT scanner for imaging of non-human objects
| 24 | G1-24 | [G1-24] - Optical fibre communication system exceeding Hazard Level 3R | Optical fibre communication system exceeding Hazard Level 3R, as defined by AS/NZS IEC 60825.2:2011 | 4 | Non-Ionizing Apparatus | 1 | [G1-25(e)] - Tritium clock, watch or other device <= 100 GBq |  | [G1-26(d)] - Ion beam etching unit
| 25 | G2-1 | [G2-1] - Sealed source for calibration purposes of activity of more than 40 MBq | Sealed source for calibration purposes of activity of more than 40 MBq | 1 | Sealed Source | 2 | [G2-14(d)] - Tritium clock, watch or other device > 100 GBq |  | [G2-15(d)] - Fixed medical x-ray unit used for research purposes, including a unit designed for fluoroscopy, tomography, mammography and chiropractic radiography
| 26 | G2-2 | [G2-2] - Sealed source in a partially enclosed analytical device | Sealed source in a partially enclosed analytical device | 1 | Sealed Source | 2 |  |  | [G2-15(e)] - Personnel security screening system using backscatter x-rays
| 27 | G2-3 | [G2-3] - Sealed source of activity of more than 400 MBq in a fixed gauge | Sealed source of activity of more than 400 MBq in a fixed gauge | 1 | Sealed Source | 2 |  |  | [G1-26(e)] - CT scanner (for inspection of baggage/freight etc)
| 28 | G2-4 | [G2-4] - Sealed source in a mobile gauge | Sealed source in a mobile gauge | 1 | Sealed Source | 2 |  |  | [G2-15(f)] - Orthopantomogram (OPG), dental x-ray unit
| 29 | G2-5 | [G2-5] - Sealed source for medical or veterinary diagnostic nuclear medicine use | Sealed source for medical or veterinary diagnostic nuclear medicine use | 1 | Sealed Source | 2 |  |  | [G2-15(g)] - Fully enclosed x-ray biological irradiator
| 30 | G2-6 | [G2-6] - Unsealed sources having nuclides of 1 kind only with a maximum activity of more than 100, but not more than 10 000, times the amount specified in the Schedule | Unsealed source, or sources, in a laboratory or premises, having nuclides of 1 kind only with a maximum activity of more than 100, but not more than 10 000, times the activity value for that nuclide set out in an item in the table in Part 1 of Schedule 1 | 2 | Unsealed Source | 2 |  |  | [G1-26(f)] - Dual energy x-ray absorptiometry (DEXA) unit for veterinary studies
| 31 | G2-7 | [G2-7] - Unsealed sources having multiple nuclides such that when the activity is computed acording to the Schedule it is more than 100 but not more than 10 000 | Unsealed source, or sources, in a laboratory or premises, having nuclides such that when the maximum activity of each nuclide in the source, or sources, is divided by the activity value for that nuclide set out in an item in the table in Part 1 of Schedule 1, the total of the results for all nuclides in the source, or sources, is more than 100 but not more than 10 000 | 2 | Unsealed Source | 2 |  |  | [G1-26(g)] - Fully enclosed x-ray biological irradiator (low power)
| 32 | G2-8 | [G2-8] - Unsealed sources used for tracer studies | Unsealed sources used for tracer studies | 2 | Unsealed Source | 2 |  |  | [G1-26(h)] - CT, SPECT/CT or PET/CT scanner for imaging of small animals
| 33 | G2-9 | [G2-9] - Industrial radiography x-ray unit | Industrial radiography x-ray unit | 3 | Ionizing Apparatus | 2 |  |  | [G1-26(i)] - Klystron amplifier or magnetron for radio communication or radar
| 34 | G2-10 | [G2-10] - Fixed medical x-ray unit, including a unit used for fluoroscopy, tomography and chiropractic radiography | Fixed medical x-ray unit, including a unit used for fluoroscopy, tomography and chiropractic radiography | 3 | Ionizing Apparatus | 2 |  |  | [G2-15(h)] - X-ray transmission personnel screening system
| 35 | G2-11 | [G2-11] - Partially enclosed x-ray analysis unit | Partially enclosed x-ray analysis unit | 3 | Ionizing Apparatus | 2 |  |  | [G2-15(i)] - Handheld X-ray Fluorescence Analyser
| 36 | G2-12 | [G2-12] - Medical therapy simulator | Medical therapy simulator | 3 | Ionizing Apparatus | 2 |  |  | [G1-26(k)] - Handheld backscatter x-ray security inspection system
| 37 | G2-13 | [G2-13] - CT scanner | CT scanner | 3 | Ionizing Apparatus | 2
| 38 | G3-1 | [G3-1] - Sealed source for industrial radiography | Sealed source for industrial radiography | 1 | Sealed Source | 3
| 39 | G3-2 | [G3-2] - Sealed source for medical and veterinary radiotherapy | Sealed source for medical and veterinary radiotherapy | 1 | Sealed Source | 3
| 40 | G3-3 | [G3-3] - Sealed source in a bore hole logger | Sealed source in a bore hole logger | 1 | Sealed Source | 3
| 41 | G3-4(a) | [G3-4(a)] - Reactor start-up source | Reactor start-up source (Sealed source of controlled material not mentioned in another item of this Schedule, dealings with which have the potential for accidental exposure that is likely to exceed a dose limit mentioned in sections 77 and 79 and that is likely to result in acute effects) | 1 | Sealed Source | 3
| 42 | G3-5 | [G3-5] - Unsealed sources having nuclides of 1 kind only with a maximum activity of more than 10 000, but not more than 1 000 000, times the amount specified in the Schedule | Unsealed source, or sources, in a laboratory or premises, having nuclides of 1 kind only with a maximum activity of more than 10 000, but not more than 1 000 000, times the activity value for that nuclide set out in an item in the table in Part 1 of Schedule 1 | 2 | Unsealed Source | 3
| 43 | G3-6 | [G3-6] - Unsealed sources having multiple nuclides such that when the activity is computed acording to the Schedule it is more than 10 000 but not more than 1 000 000 | Unsealed source, or sources, in a laboratory or premises, having nuclides such that when the maximum activity of each nuclide in the source, or sources, is divided by the activity value for that nuclide set out in an item in the table in Part 1 of Schedule 1, the total of the results for all nuclides in the source, or sources, is more than 10 000 but not more than 1 000 000 | 2 | Unsealed Source | 3
| 44 | G3-7 | [G3-7] - Veterinary or medical radiotherapy unit | Veterinary or medical radiotherapy unit | 3 | Ionizing Apparatus | 3
| 45 | G3-8(a) | [G3-8(a)] - Industrial irradiator containing less than 10^13Bq of a controlled material | Industrial irradiator containing less than 10^13Bq of a controlled material (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 2, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 and likely to result in acute effects) | 1 | Sealed Source | 3
| 46 | G3-8(b) | [G3-8(b)] - Neutron Beam Instrument | Neutron Beam Instrument (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 2, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 and likely to result in acute effects) | 3 | Ionizing Apparatus | 3
| 47 | G3-8(c) | [G3-8(c)] - Low Energy Implanter | Low Energy Implanter (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 2, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 and likely to result in acute effects) | 3 | Ionizing Apparatus | 3
| 48 | G3-8(d) | [G3-8(d)] - Deuterium-tritium or deuterium-deuterium neutron generator | Deuterium-tritium or deuterium-deuterium neutron generator (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 2, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 and likely to result in acute effects) | 3 | Ionizing Apparatus | 3
| 49 | G3-8(e) | [G3-8(e)] - Industrial irradiator containing >=100TBq but < 1 PBq of a controlled material | Industrial irradiator containing >=100TBq but < 1 PBq of a controlled material (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 2, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 and likely to result in acute effects) | 3 | Ionizing Apparatus | 3
| 50 | G3-8 | [G3-8] - Controlled apparatus that produces ionising radiation not mentioned in another item of this Schedule | Controlled apparatus that produces ionizing radiation not mentioned in another item of this Schedule, dealings with which have the potential for accidental exposure that is likely to exceed a dose limit mentioned in sections 77 and 79 and that is likely to result in acute effects | 3 | Ionizing Apparatus | 3
| 51 | G3-4(b) | [G3-4(b)] - Sealed source in a fully enclosed and interlocked cabinet used for calibration purposes | Sealed source in a fully enclosed and interlocked cabinet used for calibration purposes (Sealed source not mentioned in another item of this table or in the definition of Group 1 or Group 2, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 and likely to result in acute effects) | 1 | Sealed Source | 3
| 101 | G2-15(a) | [G2-15(a)] - Mobile backscatter x-ray security inspection system | Mobile backscatter x-ray security inspection system (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 102 | G1-26(a) | [G1-26(a)] - Fully enclosed x-ray unit (used for radiography) | Fully enclosed x-ray unit (used for radiography) - (Sealed source not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 103 | G1-26(b) | [G1-26(b)] - Portable handheld dental x-ray apparatus | Portable handheld dental x-ray apparatus (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 104 | G2-15(b) | [G2-15(b)] - Mobile fluoroscopic x-ray apparatus | Mobile fluoroscopic x-ray apparatus (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects)) | 3 | Ionizing Apparatus | 2
| 105 | G1-26(c) | [G1-26(c)] - Optical source, other than a laser product, emitting ultraviolet radiation, infrared or visible light – solar concentrator | Optical source, other than a laser product, emitting ultraviolet radiation, infrared or visible light – solar concentrator (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 4 | Non-Ionizing Apparatus | 1
| 107 | G1-25(a) | [G1-25(a)] - Sealed source for training and education purposes of activity 40 MBq or less | Sealed source for training and education purposes of activity 40 MBq or less (Sealed source not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 1 | Sealed Source | 1
| 108 | G2-14(a) | [G2-14(a)] - Sealed source for training and education purposes of activity more than 40 MBq | Sealed source for training and education purposes of activity more than 40 MBq (Sealed source not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 1 | Sealed Source | 2
| 109 | G2-15(c) | [G2-15(c)] - CT scanner for imaging of non-human objects | CT scanner for imaging of non-human objects (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 110 | G1-26(d) | [G1-26(d)] - Ion beam etching unit | Ion beam etching unit (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 111 | G2-15(d) | [G2-15(d)] - Fixed medical x-ray unit used for research purposes, including a unit designed for fluoroscopy, tomography, mammography and chiropractic radiography | Fixed medical x-ray unit used for research purposes, including a unit designed for fluoroscopy, tomography, mammography and chiropractic radiography (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 112 | G2-15(e) | [G2-15(e)] - Personnel security screening system using backscatter x-rays | Personnel security screening system using backscatter x-rays (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 113 | G1-26(e) | [G1-26(e)] - CT scanner (for inspection of baggage/freight etc) | CT scanner (for inspection of baggage/freight etc) - (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 114 | G2-15(f) | [G2-15(f)] - Orthopantomogram (OPG), dental x-ray unit | Orthopantomogram (OPG), dental x-ray unit (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 115 | G2-15(g) | [G2-15(g)] - Fully enclosed x-ray biological irradiator | Fully enclosed x-ray biological irradiator (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 116 | G1-26(f) | [G1-26(f)] - Dual energy x-ray absorptiometry (DEXA) unit for veterinary studies | Dual energy x-ray absorptiometry (DEXA) unit for veterinary studies (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 117 | G1-26(g) | [G1-26(g)] - Fully enclosed x-ray biological irradiator (low power) | Fully enclosed x-ray biological irradiator (low power) - (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 118 | G1-25(b) | [G1-25(b)] - Manufactured item or component containing thorium | Manufactured item or component containing thorium (Sealed source not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 2 | Unsealed Source | 1
| 119 | G1-26(h) | [G1-26(h)] - CT, SPECT/CT or PET/CT scanner for imaging of small animals | CT, SPECT/CT or PET/CT scanner for imaging of small animals (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 120 | G1-26(i) | [G1-26(i)] - Klystron amplifier or magnetron for radio communication or radar | Klystron amplifier or magnetron for radio communication or radar (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 121 | G2-15(h) | [G2-15(h)] - X-ray transmission personnel screening system | Personnel anti-smuggling screening system using transmission x-rays (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 122 | G1-25(c) | [G1-25(c)] - Ra-226 clock, watch or other device <= 1 MBq | Clock, watch, heritage object, luminous dial or indicator with paint containing radium 226 of activity of 1 MBq or less and no other controlled material (Sealed source not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 1 | Sealed Source | 1
| 123 | G2-14(b) | [G2-14(b)] - Ra-226 clock, watch or other device > 1 MBq | Clock, watch, heritage object, luminous dial or indicator with paint containing radium 226 of activity of more than 1 MBq and no other controlled material (Sealed source not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 1 | Sealed Source | 2
| 124 | G1-26(j) | [G1-26(j)] - Laser used on animals | Laser used on animals (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 4 | Non-Ionizing Apparatus | 1
| 125 | G1-25(d) | [G1-25(d)] - Pm-147 clock, watch or other device <= 1 GBq | Clock, watch, heritage object, luminous dial or indicator with paint containing promethium 147 of activity of 1 Gbq or less and no other controlled material (Sealed source not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 1 | Sealed Source | 1
| 126 | G2-14(c) | [G2-14(c)] - Pm-147 clock, watch or other device > 1 GBq | Clock, watch, heritage object, luminous dial or indicator with paint containing promethium 147 of activity of more than 1 GBq and no other controlled material (Sealed source not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 1 | Sealed Source | 2
| 127 | G1-25(e) | [G1-25(e)] - Tritium clock, watch or other device <= 100 GBq | Clock, watch, heritage object, military device or electronic component containing tritium of activity of 100 GBq or less and no other controlled material (Sealed source not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 1 | Sealed Source | 1
| 128 | G2-14(d) | [G2-14(d)] - Tritium clock, watch or other device > 100 GBq | Clock, watch, heritage object, military device or electronic component containing tritium of activity of more than 100 GBq and no other controlled material (Sealed source not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 1 | Sealed Source | 2
| 129 | G2-15(i) | [G2-15(i)] - Handheld X-ray Fluorescence Analyser | Handheld X-ray Fluorescence Analyser (Controlled apparatus that produces ionizing radiation not mentioned in another item of this table or in the definition of Group 1 or Group 3, dealings with which have the potential for accidental exposure likely to exceed a dose limit mentioned in sections 77 and 79 but unlikely to result in acute effects) | 3 | Ionizing Apparatus | 2
| 130 | G1-26(k) | [G1-26(k)] - Handheld backscatter x-ray security inspection system | Handheld backscatter x-ray security inspection system (Controlled apparatus that produces ionizing radiation and is not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 3 | Ionizing Apparatus | 1
| 131 | G1-25(f) | [G1-25(f)] - Tritium as an ionisation source | Tritium as an ionisation source (Sealed source not mentioned in another item of this table or in the definition of Group 2 or Group 3, dealings with which do not have the potential for accidental exposure likely to exceed the dose limits mentioned in sections 77 and 79) | 2 | Unsealed Source | 1
| 132 | G3-8(f) | [G3-8(f)] - Sealed source in a fully enclosed and interlocked cabinet used for calibration purposes | Sealed source in a fully enclosed and interlocked cabinet used for calibration purposes | 2 | Unsealed Source | 3
| 133 | G1-25(g) | [G1-25(g)] - Sealed source in a static eliminator or aerosol neutraliser | Sealed source in a static eliminator or aerosol neutraliser | 2 | Unsealed Source | 1

## Sealed Sources
New Licence Holder or Licence
Sealed Sources Inventory for New Licence
Generated from Licence Administration Database on 05 March 2019
Licence Source Identifier | ARPANSA Source Number | Kind of Controlled Material | Intended Purpose | Normal use or storage location |  | Portability | Sealed Source Details | [12 empty] | Comments
|  |  |  | Address | Building and Room |  | Radionuclide | Activity at Date |  | Manufacturer | Serial Number | RWL (Years) | Physical Form | Chemical Form | Encapsulating Material | Status | Date Acquired | Date Removed | Security Category
[8 empty] | Bq | Date

## Unsealed Sources
New Licence Holder or Licence
Unsealed Sources Inventory for New Licence
Generated from Licence Administration Database on 05 March 2019
Licence Source Identifier | ARPANSA Source Number | Kind of Controlled Material | Intended Purpose | Normal use or storage location |  | Portability | Unsealed Source Details | [6 empty] | Comments
|  |  |  | Address | Building and Room |  | Radionuclide | Maximum Activity (Bq) | Physical Form | Chemical Form | Status | Date Acquired | Date Removed

## Ionising Apparatus
New Licence Holder or Licence
Ionising Apparatus Inventory for New Licence
Generated from Licence Administration Database on 05 March 2019
Licence Source Identifier | ARPANSA Source Number | Kind of Controlled Apparatus | Intended Purpose | Normal use or storage location |  | Portability | Ionising Apparatus Details | [7 empty] | Comments
|  |  |  | Address | Building and Room |  | Operating Parameters |  | Manufacturer | Model | Serial Number | Status | Date Acquired | Date Removed
[7 empty] | Max kVp | Max mA

## Non-ionising Apparatus
New Licence Holder or Licence
Non-ionising Apparatus Inventory for New Licence
Generated from Licence Administration Database on 05 March 2019
Licence Source Identifier | ARPANSA Source Number | Kind of Controlled Apparatus | Intended Purpose | Normal use or storage location |  | Portability | Non-ionising Apparatus Details | [7 empty] | Comments
|  |  |  | Address | Building and Room |  | Operating Parameters | Likely Exposure Levels | Manufacturer | Model | Serial Number | Status | Date Acquired | Date Removed